## Slide 1
Reflectometry in BornAgain: overview
Dmitry Yurov

## Slide 2
Helmholtz equation:
Helmholtz equation
Schrödinger equation:
Electromagnetic wave equation:
20/12/18
2
Contains all information about the media
Fundamental solution for homogeneous media

## Slide 3
Generic solution:
Boundary conditions:
Plane wave in semi-infinite media
Helmholtz equation:
Doing separation of variables once again:
20/12/18
3
z
0
n0
n1
t0
t1
r0
,
Fresnel’s formulas:
αi
αf
,
Snell’s law:
Important implications

## Slide 4
Matrix formalism for multi-layer systems
20/12/18
4
Generic solution for z-component:
Boundary conditions:
z
n0, d0=0
n1, d1
n2, d2
…
ni, di
p0=0
p1
p2
pi-1
Phase shift
“Sewing“ amplitudes together
Backward matrix relation:

## Slide 5
Typical reflectometry image
20/12/18
5
Scattering wave vector:
z
Interference maximum:
Peak width:

## Slide 6
Task: sample thickness from reflectometry image
20/12/18
6

## Slide 7
Task: sample thickness from reflectometry image
20/12/18
7

## Slide 8
Beam effects: overview
Footprint correction
Beam divergence
Background noise
20/12/18
8

## Slide 9
Beam effects: footprint correction
Depends on beam-to-sample width ratio
Gaussian beam
Square beam
20/12/18
9

## Slide 10
Beam effects: divergence
Total divergence impact on q:
Wavelength divergence at small angles:
Angular divergence at small angles:
20/12/18
10

## Slide 11
Materials: index of refraction vs SLD
Index of refraction
Depends on wavelength
X-ray data at http://henke.lbl.gov/optical_constants/getdb2.html
20/12/18
11
Scattering length density (SLD)
Can be interpreted as normalized potential of interaction
Interaction with neutrons:
Neutron data at https://webapps.frm2.tum.de/intranet/neutroncalc/

## Slide 12
Materials: index of refraction vs SLD
20/12/18
12
HomogeneousMaterial
Based on index of refraction
Suitable for any probe type
Provides correct values of refractive index for a monochromatic wave with predefined wavelength
Main use case: probes with negligible wavelength divergence
MaterialBySLD
Based on SLD
Provides correct values of refractive index in a range of wavelengths
Main use case: neutron probes (except for He-3, Cd, Sm, Eu, Gd, Yb, Hg materials)

## Slide 13
Reflectometry in BornAgain: tutorials
Dmitry Yurov

## Slide 14
GUI: Simulate and fit Ag nano-particles
Instrument:
  Direct beam intensity: 108
  Wavelength: 0.1798 nm
  Angle range: 0 – 3 deg
  Gaussian angular divergence: σ = 0.01 deg
  Square footprint: sample width – 10 cm, beam width – 0.1 mm
Sample:
  Neutron data at https://webapps.frm2.tum.de/intranet/neutroncalc/
20/12/18
14
Material | Density, g/cm3 | ρr, 10-6 A-2 | ρi, 10-6 A-2 | thickness, nm
Vacuum | - | 0 | 0 | Inf
Ag | 4 |  |  | 20
SiO2 | 2.33 |  |  | 5
Si | 2.33 |  |  | Inf

## Slide 15
GUI: Simulate and fit Ag nano-particles
Instrument:
  Direct beam intensity: 108
  Wavelength: 0.1798 nm
  Angle range: 0 – 3 deg
  Gaussian angular divergence: σ = 0.01 deg
  Square footprint: sample width – 10 cm, beam width – 0.1 mm
Sample:
  Neutron data at https://webapps.frm2.tum.de/intranet/neutroncalc/
20/12/18
15
Material | Density, g/cm3 | ρr, 10-6 A-2 | ρi, 10-6 A-2 | thickness, nm
Vacuum | - | 0 | 0 | Inf
Ag | 4 | 1.322 | 0.485 | 20
SiO2 | 2.33 | 3.681 | 0.543 | 5
Si | 2.33 | 2.074 | 0.063 | Inf

## Slide 16
GUI: Simulate and fit Ag nano-particles
Fitting parameters
  Ag density
  Ag layer thickness
  SiO2 density
  SiO2 layer thickness
20/12/18
16
Fit parameter | Start | Min | Max
Ag ρr, 10-6 A-2 | 1.322 | 0.661 | 2.0
Ag thickness, nm | 20 | 10 | 30
SiO2 ρr, 10-6 A-2 | 3.681 | 3.5 | 4.0
SiO2 thickness, nm | 5 | 3 | 8

## Slide 17
GUI: Simulate and fit Ag nano-particles
Fitting parameters
  Ag density
  Ag layer thickness
  SiO2 density
  SiO2 layer thickness
20/12/18
17
Fit parameter | Target value
Ag ρr, 10-6 A-2 | 1.984
Ag thickness, nm | 25
SiO2 ρr, 10-6 A-2 | 3.8
SiO2 thickness, nm | 7

## Slide 18
Thank you for your attention!